## Slide 1: Hybrid Wind and Solar Generation System Team: Daoxi Sun, Riley O'Connor, Trevor Webb, Shihao Ni, Xiaokai Sun, Ben Ryan Advisor, Client: Venkataramana Ajjarapu Mentor: Ankit Singhal
May 15-21

## Slide 2: Problem Statement
Use stand-alone solar and wind generation to supply a load of up to 400 W

## Slide 3: Conceptual Design
PV panel to generate solar power
Motor simulates wind power
Each system will individually manipulate DC
Combination of inputs then converted to AC
Battery bank to store excess power and
provide support as needed

## Slide 4: Functional Requirements
Solar and wind generation together must provide for a
400 W load
A battery is connected to the system to help maintain the power
Should operate reasonably under a variety of conditions

## Slide 5: Team Contributions
Wind and Solar Team duties
Riley O'Connor: solar team, team leader
Daoxi Sun: solar team, webmaster
Shihao Ni: wind team, webmaster
Xiaokai Sun: wind team, communication leader
Trevor Webb: solar team, communication leader
Ben Ryan: wind team, key concept holder

## Slide 6: Functional Composition - Solar
Simulation of solar panel equations
Boost Converter schematic
Photovoltaic panels generate solar power,
dependent on a variety of conditions
Boost Converter with MPPT maximizes
power output

## Slide 7: Functional Composition - Wind
Anemometer
Induction Motor, PMSG
Rectifier
Buck-Boost Converter

## Slide 8: Functional Composition - Load Side
Battery Bank for powering load, compensating for poor conditions
Inverter converts DC to AC voltage
Filter output waveform
to load
PI Controllers handle switching
behavior

## Slide 9: Detailed Design - Solar
Functional solar design

## Slide 10: Solar Panel Simulation
0.5 v per cell maximum
~36 cells in a panel
0.5 * 36= 18 V maximum

## Slide 11: MPPT and Boost Converter
MPPT: perturbation and observation
Boost converter:
step up voltage
based on duty cycle

## Slide 12: Load with Inverter and Filter

## Slide 13: Detailed Design - Wind
Functional
Wind
Design

## Slide 14: Detailed Design - Turbine Simulation
Turbine
Torque
Input

## Slide 15: Detailed Design - Results

## Slide 16: Detailed Design - Combined
DC voltage bus tie
Power flow at the fixed DC voltage bus sums to zero
Battery consumes or absorbs power

## Slide 17: Testing and Implementation
Separate system simulations
Individual components: input and output procedure
Functioning hybrid system for demonstrations

## Slide 18: Challenges
Power output cannot exceed the rating of the device
Becoming familiar with individual hardware components and troubleshooting them
Differences between theoretical simulation and practical applications

## Slide 19: Parts Estimate
Boost Converter, MPPT, Motor Controller, various passive circuit elements
May need more when hardware process begins

## Slide 20: Fall Timeline

## Slide 21: Spring Timeline

## Slide 22: Current Status
Individual simulations completed
Need to combine simulations
Ready to move on to hardware testing

## Slide 23: Plans for Next Semester
Basic simulation for both solar and wind complete
Using designs from the simulations to test hardware behavior
Solar and wind teams will need to test separately at first
Comprehensive model will then be simulated
Finally solar and wind components will be connected together and complete model will tested